PLAN SUBMITTAL PACKAGE MUST INCLUDE

- All documents shall comply with the Nevada Blue Book 2020 Guidelines, Clark County Standards, Uniform Design and Construction Standards for Potable Water Systems, Design and Construction Standards for Wastewater Collection Systems, Regional Transportation Commission of Southern Nevada Uniform Standard Drawings and Specifications, Southern Nevada Health District, and Boulder City Local Amendments

- All drawings must comply with NAC 625.611

- A  Complete Set of Plans in PDF Format and Digitally signed by a Professional Engineer

__ Cover Sheet (Address, location map, identification of Engineer/Architect and design criteria)

__ Site Plan (North arrow, label streets, identify all structures (existing and proposed), bar scale, identify scaling, setbacks, easements, significant dimensions)

__ Driveway apron showing width and driveway grade along centerline

__ Show finish floor and pad elevation

__ Show existing and proposed walls on property lines, if applicable

__ Show existing street centerline, existing curb, gutter, and sidewalk

__ Show easements and Rights-of-Ways

__ Show positive drainage flows to off property

__ Show location of drainage facilities on site, if applicable

__ Electric meter and connection to City Facility

__ Show Electric boxes, street light poles

__ Sewer lateral and connection to City sewer main

__ Show grease interceptor location, if applicable

__ Water meter and connection to City main

__ Show water backflow device, if applicable

__ Show all other agencies utilities connection to the property

__ Commercial properties require on-site dual enclosures for dumpster and recycling container

__ Show grade breaks, slopes, retaining walls, high spot on the site and drainage flows away from pad. (Developments may require Drainage Study)

__  Some projects may require a Traffic Study

__ Utility Plan  (Showing all (public and private) utilities and meter locations and connections to the City’s utilities)

__ Bonding Estimate Sheet (A completed spreadsheet for all work that will be done in the Public ROW)

__ Backflow Prevention Device (device installed as per UDACS Standard Plate No. 8)

__ Provide contact information for Engineer/Architect and Owner/Developer

__ Required Backup Documentation i.e. UDACS plate’s, flow calculation, electrical load calculations, etc.

__ ROW Permit Apply for a permit through the online portal (https://bouldercitynv-permit-portal.azurewebsites.net/) for all work done in the Public ROW a Traffic Control Plan may be necessary

Public Works Site Visit Before Construction

__ Do a pre-inspection on site to inspect all existing installed utilities.

__ Investigate any issues that need to be resolved before construction starts.

__ Take pictures of existing public utilities, street, curb, gutter, sidewalk, driveway approach, etc.

__ Send letter to Engineer/Architect and Owner/Developer about project with requirements for new utility installations and cover any issues that may interfere with the project.